A 4-min background counter and 16-min gross count are taken who specimens being assessed for activity. The calibration constant is 2.36 Bq net count.  A selected sample registers 120 background and 584 gross counts.

a) Estimates the expected value for the net count rate and its standard deviation,

b) What is implied sample activity,

c) What is the probability that is sample with zero true activity (At=0) would give an activity measurement exceeding that found in (b)? Is the measurement in (b) consistent with zero with zero true activity for this sample?

d) Assume that At=0. What are the smallest net count numbers, Lc, over  4 min period that would be exceeded with a probability no greater than 0.05 or 0.1?

e) With these value of Lc, what would be the minimum significant measured activities?