The activity concentration of uranium in soil around a processing plant has a mean μ=3.2 pCi g-1 and standard deviation σ=0.2 pCi g-1.

Soil samples are collected monthly to monitor for possible contamination. The goal is to maintain a state of .no detectable uranium above background. in the soil.

a) What measured level of uranium in soil would indicate a failure of the containment controls, given an acceptable probability α=0.01 of a false positive?

b) Suppose that we use LC=3.7 pCi g-1 as the critical value for our test. That is, we will reject

H0: μ=3.2 pCi g-1 if a sample shows a concentration greater than LC. What is the probability that we will accept H0 when the true value is 3.4 pCi g-1 (a type II error, β)?

c) Repeat (b) for μ=3.6, 3.8, 4.0, and 4.1 pCi g-1.

d) Plot the values obtained in (b) and (c), showing μ  as the abscissa and (1- β) as the ordinate.

e) From your plot, determine the power when μ=3.5 pCi g-1.